Specifikace požadovaného HW + SW pro nákup serverové infrastruktury:

| 2x HP Proliant DL380 Gen9 server + 3 roky podpora NBD |  |
| --- | --- |
| konfigurace |  |
| 2 | HPE ProLiant DL380 Gen9 8SFF Configure-to-order Server |  |
| 2 | HP ProLiant DL380 Gen9 8SFF Europe-Multilingual Localization Conf |  |
| 2 | HPE DL380 Gen9 Intel Xeon E5-2643v4 (3.4GHz_6-core_20MB_135W) FIO |  |
| 2 | HPE DL380 Gen9 Intel Xeon E5-2643v4 (3.4GHz_6-core_20MB_135W) Pro |  |
| 2 | Factory Integrated |  |
| 32 | HPE 16GB (1x16GB) Dual Rank x8 DDR4-2400 CAS-17-17-17 Registered |  |
| 32 | Factory Integrated |  |
| 2 | HPE 82E 8Gb 2-port PCIe Fibre Channel Host Bus Adapter |  |
| 2 | Factory Integrated |  |
| 4 | HPE 500W Flex Slot Platinum Hot Plug Power Supply Kit |  |
| 4 | Factory Integrated |  |
| 2 | HPE iLO Advanced 1-server License with 3yr Support on iLO License |  |
| 2 | Factory Integrated |  |
| 2 | HPE 8GB microSD Flash Memory Card |  |
| 2 | Factory Integrated |  |
| 2 | HPE 2U Cable Management Arm for Easy Install Rail Kit |  |
| 2 | Factory Integrated |  |
| 2 | HPE 2U Small Form Factor Easy Install Rail Kit |  |
| 2 | Factory Integrated |  |
| 8 | HPE 8Gb Shortwave B-series Fibre Channel 1 Pack SFP+ Transceiver |  |
| 4 | HPE LC to LC Multi-mode OM3 2-Fiber 2.0m 1-Pack Fiber Optic Cable |  |
| 1 | HPE 3Y Foundation Care NBD SVC |  |
| 2 | HPE ProLiant DL380 Gen9 Support |  |
| Cena Celkem bez DPH: |  |  |

Specifikace na rozšíření diskového pole DELL:

| počet | produkt |  |
| --- | --- | --- |
| 1 | diskové pole MD1220, počet diskových pozic 24 , formát 2,5" rozhraní SAS |  |
| 12 | Disky 1,2TB SAS, rychlost 10 000 otáček, 5 YR 24x7x4 Mision Critical |  |
| 1 | Support NBD 3 year |  |
| Cena Celkem bez DPH: |  |  |

Specifikace a počet jednotlivých licencí SW pro nákup serverové infrastruktury:

| Licence Microsoft - 3x Windows DataCenter + klientské licence |  |
| --- | --- |
| počet | produkt |  |
| 3 | Windows Server Datacenter 2016 16 Gov CoreLic |  |
| 120 | Windows Server 2016 Gov Device CAL |  |
| 120 | Windows Remote Desktop 2016 Gov Device CAL |  |
| Cena Celkem bez DPH: |  |  |

| Licence VMWARE |  |
| --- | --- |
| počet | produkt |  |
| 6 | VMware vSphere 6 Standard for 1 processor |  |
| 6 | Basic Support/Subscription VMware vSphere 6 Standard for 1 processor for 3 year |  |
| 1 | VMware vCenter Server 6 Foundation for vSphere up to 4 hosts (Per Instance) |  |
| 1 | Basic Support/Subscription VMware vCenter Server 6 Foundation for vSphere up to 4 hosts (Per Instance) for 3 year |  |
| Cena Celkem bez DPH: |  |  |

Cena celkem bez DPH ………………….  S DPH………………………..